**Dispensing Propane Safely – Uncontrolled Release – Emergency Procedures**

**OBJECTIVE:** The objective of OJT for this task is to (1) determine whether the student has the appropriate level of knowledge in performing this task and (2) to help the student reach a comfort level in performing this task so that they are confident when performing the task on their own.

**EQUIPMENT NECESSARY TO PERFORM THIS TASK:**  Working Dispensing Station

**TASK PERFORMED:** [ ]  Live in the Field [ ]  At Plant [ ]  By Simulation

**ADDITIONAL PROPS NECESSARY TO PERFORM THIS TASK BY SIMULATION:** Not Applicable; Assessment should be done at a live dispenser

**INSTRUCTOR GUIDANCE**: OJT assumes that the Dispensing Propane Safely program has been completed and knowledge test passing grade achieved. It is acceptable to coach and reinforce that knowledge in practical application to achieve the OJT Program objective.

Skill Verification:

[ ]  Student can define an uncontrolled release

[ ]  Student can identify Emergency Shutdown Station and how to operate it

[ ]  Student can identify the fire extinguisher location

[ ]  Student can articulate what to do in an emergency

[ ]  Student demonstrated evacuation procedure

[ ]  Student articulated what the fire extinguisher is for

[ ]  Student knows the only way to put out a propane fire is to stop the source

Student Name: Date:

Instructor Name: Signature:

**Dispensing Propane Safely – Dispensing Autogas**

**OBJECTIVE:** The objective of OJT for this task is to (1) determine whether the student has the appropriate level of knowledge in performing this task and (2) to help the student reach a comfort level in performing this task so that they are confident when performing the task on their own.

**EQUIPMENT NECESSARY TO PERFORM THIS TASK:**  A vehicle that uses Autogas; 1 ¾” ACME Nozzle or K-15 Nozzle

**TASK PERFORMED:** [ ]  Live in the Field [ ]  At Plant [ ]  By Simulation

**ADDITIONAL PROPS NECESSARY TO PERFORM THIS TASK BY SIMULATION:** Not Applicable; Assessment should be done at a live dispenser

**INSTRUCTOR GUIDANCE**: OJT assumes that the Dispensing Propane Safely program has been completed and knowledge test passing grade achieved. It is acceptable to coach and reinforce that knowledge in practical application to achieve the OJT Program objective.

Skill Verification:

[ ]  Student can describe difference between cylinder and Autogas dispenser

[ ]  Student can describe PPE required for Autogas dispensing

[ ]  Student demonstrated location of fire extinguisher and emergency shutoff

[ ]  Student identified whether vehicle uses Autogas (looked for decal)

[ ]  Student identified types on Autogas nozzles and their use

[ ]  Vehicle was parked on level ground

[ ]  Student inspected tank and valves for damage

[ ]  Student surveyed for sources of ignition

[ ]  Student demonstrated steps for filling Autogas tank

[ ]  Student tested for leaks following filling

[ ]  Student demonstrated how to turn off the dispenser and secure

Student Name: Date:

Instructor Name: Signature: